NHS Paving requirements (RFP 20-025)

1. Clean a section of the existing track, if partially reused to remove dirt and debris. Remove the high jump pad and relocate inside the new track.
2. Install geo-textile fabric over structural cracks, if any of the existing track is reused.
3. Apply a tack coat at an application rate of 0.05 gal/sy to running track if any portion is reused.
4. Install a 1” Permaflex asphalt binder course to running track.
5. Install a 1.25” type II asphalt topping to running track and high jump pad.
6. Layout and stripe running track per NFHS rules and regulations.
7. Build a 3’ asphalt long jump lane and sand pit between back of end zone and high jump pad. Grade, Stone base and 1.5” asphalt binder course and 1.25”type II asphalt topping and compact to 95% standard proctor.