**Cabling and Fiber**

**RFP NUMBER 20-019**

**QUESTION AND ANSWERS 2**

2.2.19 and 2.2.20 Will you please provide a list of the schools that are total rewires that have existing wide Wiremold 5500 and which ones do not have the wide wiremold. At the schools that do not use Wiremold 5500 Wide Mold can you please let us know if it wire will be installed in existing ¾” conduit or the size/type of wiremold? We discussed in the meeting the district may specify a specific number of sticks of wiremold and deep double gang boxes to support the size of the CAT-6a cables at each of these schools so that every vendor is bidding the same thing at the outlet locations?

For the schools that are rewire, HCBOE requests a separate line item for conduit and box. Submit proposal to provide 2 - 8’ sticks and 3 single gang boxes for every room. This will not be needed for every room and will be credited unless used.

|  |  |  |
| --- | --- | --- |
| ***School*** | ***wireMold / 8’ Stick*** | ***singleGang/ea*** |
| Bonaire ES | **138** | **207** |
| Bonaire MS | **186** | **279** |
| Eagle Springs ES | **142** | **213** |
| Feagin Mill MS | **192** | **288** |
| Huntington MS | **182** | **273** |
| Matt Arthur ES | **148** | **222** |
| Northside MS | **174** | **261** |
| Park Wood ES | **114** | **171** |
| Perry MS | **186** | **279** |
| Thompson MS | **80** | **240** |
| Warner Robins MS | **172** | **258** |
|  | ***1714*** | ***2571*** |

The table above list the maximum number of wiremold and box count for each school. Vendors should provide as a separate line item.